	[image: image1.jpg]




	
	Health and Safety

Executive



Health and Safety Executive
Proposals for revised policies for HSE advice on development control around large-scale petrol storage sites

Reply Form

Completing this Questionnaire
You can move between questions by pressing the ‘Tab’ / ’Shift-Tab’ or ‘Page Up’ / ‘Page Down’ keys or by clicking on the grey boxes with a mouse.  Please type your replies within the rectangular grey boxes, or click on the square grey boxes to select an answer (e.g. ‘Yes’ or ‘No’).
Part 1: Your details:
	Name:
	N Macnaughton

	
	

	Job title:
	     

	
	

	Organisation:
	UKOPA

	
	

	Street address:
	     

	
	

	Town / City:
	     

	
	

	Postcode:
	     

	
	

	Telephone:
	     

	
	

	Fax:
	     


	
	

	Email:
	     


	Are you a safety representative?
Choose one option
	
	Yes
	 FORMCHECKBOX 


	
	
	
	

	
	
	No
	 FORMCHECKBOX 


	Number of employees in your organisation:

Choose one option:
	

	Not Applicable
	 FORMCHECKBOX 

	
	250 to 1000
	 FORMCHECKBOX 


	
	
	
	
	

	1 to 9
	 FORMCHECKBOX 

	
	1000+
	 FORMCHECKBOX 


	
	
	
	
	

	10 to 49
	 FORMCHECKBOX 

	
	Self employed
	 FORMCHECKBOX 


	
	
	
	
	

	50 to 249
	 FORMCHECKBOX 

	
	
	


	Business sector:

Choose one option:
	

	Agriculture Hunting and Forestry
	 FORMCHECKBOX 

	
	Property
	 FORMCHECKBOX 


	
	
	
	
	

	Charity
	 FORMCHECKBOX 

	
	Public Administration and Defence
	 FORMCHECKBOX 


	
	
	
	
	

	Computer Software; Hardware and Consultancy
	 FORMCHECKBOX 

	
	Research and Development
	 FORMCHECKBOX 


	
	
	
	
	

	Construction
	 FORMCHECKBOX 

	
	Refuse; Sewage and Sanitation
	 FORMCHECKBOX 


	
	
	
	
	

	Education
	 FORMCHECKBOX 

	
	Transport, Storage and Communication
	 FORMCHECKBOX 


	
	
	
	
	

	Electricity, Gas and Water supply 
	 FORMCHECKBOX 

	
	Wholesale and Retail Trade
	 FORMCHECKBOX 


	
	
	
	
	

	Finance
	 FORMCHECKBOX 

	
	Leisure Sport and Recreation
	 FORMCHECKBOX 


	
	
	
	
	

	Fishing
	 FORMCHECKBOX 

	
	Other Business Activities
	 FORMCHECKBOX 


	
	
	
	
	

	Health and Social Work
	 FORMCHECKBOX 

	
	Other Service Activities
	 FORMCHECKBOX 


	
	
	
	
	

	Hotels and Restaurants
	 FORMCHECKBOX 

	
	Other
	 FORMCHECKBOX 


	
	
	
	
	

	Manufacturing
	 FORMCHECKBOX 

	
	Not Applicable
	 FORMCHECKBOX 


	
	
	
	
	

	Mining and Quarrying
	 FORMCHECKBOX 

	
	
	


	Representation - Are you responding as:

Choose one option:
	

	A member of the public
	 FORMCHECKBOX 

	
	A representative of an industry association
	 FORMCHECKBOX 


	
	
	
	
	

	An employer
	 FORMCHECKBOX 

	
	A representative of a trade union
	 FORMCHECKBOX 


	
	
	
	
	

	A local authority employee / councillor
	 FORMCHECKBOX 

	
	A representative of a charitable / voluntary organisation
	 FORMCHECKBOX 


	
	
	
	
	

	Other (please specify)
	 FORMCHECKBOX 

	
	
	

	
	
	
	
	

	If you chose ‘Other’ please specify:

	     


	Confidentiality
	

	Please indicate below if you do not wish details of your comments to be available to the public.  (NB if you do not put a cross in the box they will be made public.  This takes precedence over any automatic notes on e-mails that indicate that the contents are confidential.)
	 FORMCHECKBOX 



Part 2: Your responses:
	Q1
Do you think that in the light of the Buncefield incident, the Objectives and Principles (in Annex 1) remain a sound basis for HSE’s land use planning advice to planning authorities? 

Choose one option
	
	Yes
	 FORMCHECKBOX 


	
	
	
	

	
	
	No
	 FORMCHECKBOX 


	Q1A
Comments:

	In general, the principles outlined in Annex 1 remain sound even though the explosion at Buncefield was not previoously considered credible. However, to support the objective of consistency it is important that the risk assessment methodologies are made available publically (Principle 5). We also consider that the proposed revision to permitted developments in the Inner Zone in Option 3 or the introduction of the Development Proximity Zone represent a significant change in how Principle 9 is delivered. 


	Q2
Is it right to extend the consultation distances to the area of damage observed in the Buncefield explosion?

Choose one option
	
	Yes
	 FORMCHECKBOX 


	
	
	
	

	
	
	No
	 FORMCHECKBOX 


	Q2A
Comments:

	This issue does not directly concern our members. However, it seems inevitable that some change in LUP zones will be required to address public concerns even if the attempt to justify these changes on a risk basis are questionable.


	Q3
Should we change our assumptions about the vulnerability of individuals likely to be affected by such an incident?

Choose one option
	
	Yes
	 FORMCHECKBOX 


	
	
	
	

	
	
	No
	 FORMCHECKBOX 


	Q3A
Comments:

	We do not see any basis for such a revision.


	Q4
Which option best strikes the right balance between reducing the risk of harm to individuals and allowing economic and social development in the vicinity of these sites?
	

	Choose one option:
	Option 1 - No change to LUP advice
	 FORMCHECKBOX 


	
	
	

	
	Option 2 - Change size of CD and zones, based on hazard
	 FORMCHECKBOX 


	
	
	

	
	Option 3 - Change size of CD (as Option 2) and development sensitivity levels
	 FORMCHECKBOX 


	
	
	

	
	Option 4 - Change size of CD informed by risk, and adopt new Development Proximity Zone to give more restrictive advice
	 FORMCHECKBOX 


	

	4A
Any additional comments on your choice of option:

	Given the particular circumstances of the Buncefield explosion, adoption of Option 4 is probably the most acceptable solution. However, we do not consider that the derivation of event frequencies carried out by Atkins is sound and therefore it is hard to see how the changes in CD proposed in Option 4 are related to risk, as opposed to experience gained in hindsight. 

It should be recognised that the adoption of a DPZ is effectively changing the current 3-zone model to a 4-zone model for land-use planning, and it is the acknowledged likelihood of this new approach being extended to other hazards that causes the greatets concern.

While LUP zones are generally set on a risk basis (the inner zone around a pipeline being an exception), the setting of all the zone distances on a consequence basis is a new departure. While the use of the actual damage caused by the Buncefield explosion may be an appropriate (and inevitable) basis for setting revised LUP zones round petrol storage facilities given the current state of knowledge, it is not clear whether any revision will be proposed to how the zones are established for other hazards. We believe that such an extension should be made on a transparent basis which is open to consultation.



	5
We would particularly like views on Option 3, which gives the greatest level of protection to individuals and the greatest amount of land use control; and Option 4, which gives greater public safety protection than at present but allows more development than Option 3.

	We believe that there is little to choose between Options 3 and 4 on the basis of the costings developed in the RIA: Option 4 is slightly less onerous when compared with Option 3. However, the wider implications of adopting a 4-zone model (Option 4) need to be carefully considered as the consultation document recognises.


	Please provide any additional comments that you may have on these proposals

	     


Responses should be sent by 22 May 2007 to:

Consultation Administrator

Health and Safety Executive

Redgrave Court

Merton Road

Bootle

Merseyside    L20 7HS

Fax: 0151 951 3418

e-mail: sandra.ashcroft.lupqueries@hse.gsi.gov.uk


Page 6 of 7

[image: image1.jpg]