Summary Notes from Meeting with Peter Harper, 20 Oct 2011

FROM: Jackson, Neil W

Friday, 21 October 2011, 14:08

All,

Roger, Jane and I had a short meeting with Peter Harper yesterday following the main UKOPA meeting, below is a summary of the key points from this meeting (these are just my notes not official minutes):

1	Peter was provided with a marked up version of TD/2 identifying the sections of the document that UKOPA were intending to change (with proposed wording for some but not all sections), Peter agreed to review this outside the meeting;

UKOPA identified that both IGEM and BSi had now agreed to the updating of the documents;

2	We discussed the draft work programme (that Rod and Jane had produced) for updating TD/2 and 8010 part 3 - Peter was comfortable with this and accepted that the documents would not be published until the end of the next calendar year;

3	Peter made a commitment that the HSE would support the above work programme;

4	Peter was comfortable with the progress that had been made to date;

5	Slabbing the HSE had now produced a letter confirming that they accepted the benefit of slabbing, and identifying a factor of 0.115 risk reduction with marker tapes and a 0.125 risk reduction without marker tapes - this would be published once the joint statement w.r.t.TD/2 and 8010 had been agreed

6	The use of the slabbing risk reduction factors where dependent on the slab being designed to a suitable standard, National Grid's current standard was identified as being acceptable, probably a need for UKOPA to develop a UK standard for other operators.

7	UKOPA explained the reasons why the 0.1 risk reduction factor had been retained in the update to TD/2 - anticipate more discussion in this area going forward.

8	We promised Peter a formal response on the risk reduction impact of depth of cover for the middle of December, Peter would then put it to the HSE panel in February.

9	We identified that we did not believe that TD/2 had been misinterpreted in the risk assessment for the case that Peter had sent us (this was intended to be an example of where TD/2 had been misused in a planning enquiry).  Peter was surprised at this, and agreed to review and highlight where he believed there were issues - I agreed to forward him Jane's note that summarised her review of this QRA.

10	We highlighted our concerns around the draft joint UKOPA/HSE statement - this currently, as worded, could be interpreted as HSE are cautious because they are concerned about the safety of the general public whereas UKOPA use a best estimate approach because they are less concerned - Peter agreed to further review the wording.

Regards

Neil Jackson