Notes of the Corrosion Protection Group Meeting
held via TEAMS on 25th November 2021

CPWG/21/11

1. 	Present:

Des Auld			Mutual Energy

Nikki Barker			PIE (Secretary)

John Dyson			Working Group Technical Consultant

Mark Fisher			SGN

Morgan James		WWU

Jim Jarvie			Ineos

Simon Joyce			SGN (Chairman)

Peter Martin			National Grid

Pablo Merino			Exolum

# 2. 	Apologies

Barry MacKay			SGN

Andy Middleton		NGN

Kevin O’Keefe			GNI

Other

Michael Dass			NGN

Scott Crockart		EP Langage

Adrian Wathen		Cadent Gas

SJ welcomed everyone to the meeting and introductions were made.

# Minutes of Last Meeting (CPWG-21-07) & Matters Arising

There were no matters arising from the minutes of the meeting of 18th August 2021. NB did however point out that there had been a discussion regarding future work for the group, but this had been added to the agenda for today’s (25th November) meeting.

Actions and updates are provided in the table at the end of these minutes.

# Presentation from Members – Jim Jarvie Ineos O&P

JJ provided an overview of AC Interference on the TSEP line and the actions that they had taken. This presentation will be circulated with the minutes (CPWG-21-12).

The TSEP line has a known interference risk and already has a monitoring and mitigation system (zinc ribbons earths) in place. The presentation explains the actions taken following a sudden increase in the levels of AC interference which turned out to be due to NG.

JD questioned the specification for the ER probe which JJ said he would check with Pat Lydon (who supported Ineos on the project) and feedback. There were other queries regarding zinc ribbon use (including impact on parallel pipelines) and what inspections / readings had been taken since the project took place (and whether the ribbon was switched off during these). JJ is going to check and feedback directly to JD.

PMa noted that changes in the UK energy mix are starting to have a major impact on pipelines and this lead into the discussion regarding AC management issues.

Following on from the August meeting, BMc, SJ and KO had had a meeting and passed the scope onto JD for review. It was noted that this issue had been on the agenda for the Nov 2021 UKOPA Board/HSE Liaison meeting and a new contact to support, Gerry Muir, had been nominated from HSE to potentially assist. The stakeholder engagement workshop proposal (from 2019) is to be circulated with these minutes but during discussions it was acknowledged that BEIS should be one of the parties invited to the initial workshop.

It was agreed that a collaborative approach is needed for both sides to understand the issues and how the whole industry could work together moving forward:

- Modelling of networks

- Crossing agreements

- Early knowledge of future plans

- HVCV as well as AC needs looking at

- Etc.

BMc and SJ to liaise with HSE, potentially inviting them to the next meeting.

Action 21.09 BMc/SJ to liaise with HSE re stakeholder meeting on AC interference

# GPG for Cathodic Protection around electrified fences

PM to provide information on the work already carried out by NG and JD will use this information to produce an initial draft of the guidance by the next meeting for review – will call upon the group via email / telephone if required.

Action 21.10 JD produced draft guidance for discussion at Jan 2022 meeting

# Network Rail Infrastructure Crossing Guide

Pat Lydon has provided a scope and cost (£1600) to produce the initial technical note for the group. JD will liaise with Pat to ensure a short, concise document. Cadent might have some information that can be used. NB is to provide PL with a PO to do the work.

Action 21.11 NB provide PL with a PO for the Infrastructure Crossing Guide

# Database for Composite repairs

GDNs have been discussing and wondering if UKOPA might be the best vehicle for holding data regarding composite repair moving forward. As this would provide a national picture of where, when, what type and if any issues have been experienced with them. Advice would be provided on the information that is required to be collected and then the information managed accordingly.

PM noted that composite repairs are only sometimes picked up by ILI and that NG have started to install magnets so that the repairs can be identified.

It was agreed that SJ should speak to Chris Lyons at PIE who manage the Fault database on behalf of UKOPA to see if it could be expanded to be able to collect composite repair data. SJ would then ask members at the Feb 2022 members meeting if this was something that their organisations would be prepared to collect.

Action 21.12 SJ speak to CL about Fault database expansion for composite repairs

Action 21.13 SJ to seek member view on collecting composite repair data at Feb 2022 members meeting

# GPG 005 Management of pipeline sleeves

PIWG are currently reviewing a number UKOPA GPGs as part of the 5 yearly review cycle. Managing Pipeline Sleeves has an appendix that the PIWG would like CPWG support with. It was agreed to bring a small subgroup together, consisting of PMa, SJ and JD (anyone else is very welcome to attend) and a meeting is to be arranged for 17th December.

Action 21.14 NB arranged GPG005 subgroup meeting

# Ongoing CPWG Discussions

- CP Competencies

There was a discussion regarding how do companies manage CP Competencies and the majority work with ICORR requirements, however these do not necessarily cover how to you manage competencies moving forward and ICORR does not take account of experience? Should there be some additional modules covering such things as analysis of readings, design of systems, etc. also should there be ongoing practice / mentoring, professional logbooks, etc.

It was agreed that this should remain on the agenda for further discussion, but in the meantime, PMa agreed to discuss with ICORR at his next meeting and feedback to the group at the next meeting.

Action 21.15 PMa to discuss CP Competencies with ICORR and feedback at the next meeting

- CP Inspection Frequencies

There was a brief discussion about the inspection frequencies and methods different member organisations have and use, ranging from annual and interim inspections to bond checks and mitigation methods. It was agreed that a survey should be developed for UKOPA members to feedback, that the group could then review with the aim of identifying good practice. Outside of the meeting SJ and NB have added with development as an agenda item for the next meeting.

# Date of Next Meetings

Thursday 20th January 2022 – TEAMS

Wednesday 18th May 2022 – tbc

Tuesday 4th October 2022 - tbc

# Summary of Actions from this meeting and update on actions from previous meetings

| Action | By | Summary | Update | Status |
| --- | --- | --- | --- | --- |
| 21.09 | BMc / SJ | Liaise with HSE re AC interference stakeholder workshop |  |  |
| 21.10 | JD | Draft guide for CP around electrified fences for review at Feb meeting |  |  |
| 21.11 | NB | - Provide P Lydon with PO for rail infrastructure guide |  |  |
| 21.12 | SJ | - Speak to C Lyons re capturing composite repairs in Fault database |  |  |
| 21.13 | SJ | - Seek members agreement at Feb meeting regarding providing composite repair data |  |  |
| 21.14 | NB | - Arranged GPG005 subgroup meeting to review App A |  |  |
| 21.15 | PMa | - Discuss CP competencies with ICORR and feedback at Jan meeting |  |  |
| Update of previous actions |  |  | Update of previous actions |  |
| 21.04 | NB | - Discuss CPD recognition for involvement with UKOPA working groups and attendance at webinars / members meetings etc. | This is on the agenda for the Oct Board meeting | Ongoing |
| 21.07 | NB | - Upload password protected presentation CPWG-21-08 | Presentation uploaded | CLOSED |
| 21.08 | All | - inform SJ and NB of who preferred technical consultant should be | Nominations received. John Dyson appointed and other consultants informed and thanked for their interest | CLOSED |

V1 Prepared by Nikki Barker, 7th January 2022