UKOPA Process Safety Working Group

Agenda for the Meeting to be held in the Penspen Office, Middlewich

10.15 for 10.30am start – Dial in facilities are being arranged

- Attendance, Apologies and membership						PR

- Safety Moment

  - Pipeline Marker and Colour Coding					PR

- Minutes of last meeting and actions arising 					PR

- Review of PSWG TOR and Strategy update					PR/NB

- PSI Annual Report 2015								NB / PR

- UKOPA PSAT Survey 2016 							NB / PR

- Competency update								NB

- Process Safety Forum

  - Overview of April 2016 meeting						PR

  - Leading indicators / review of GPG 003					PR

  - Training (do you do any PSWG training if so what?)			PR

- Safety Bulletins – recent publications						PR

- Process Safety Working Group Flyer						PR

- Website / App Update								NB

  - UKOPA Website

  - UKOPA App

- Date, venue and agenda for next meeting					PR

Summary of Actions from this meeting and outstanding actions from previous meetings

| Action | Who | Summary | Update | Status |
| --- | --- | --- | --- | --- |
| 012.4.1 | NB | Produce 2015 PSI report by 31/10/2015 |  |  |
| 012.5.1 | NB | Produce PSAT report by end 2015 |  |  |
| 12.8.1 | All | Provide comments on website by 30/11/2015 |  |  |
| 009.5.1 | TS | Seek clarification of HSE data | 5/9 TS sent out information following the last meeting. Further work to be done to establish if there are any more recent figures 2/5 TB has asked HB from HSE for more up to date figures if available 25/9 No update available as yet | Ongoing Ongoing Ongoing |
| 007.9.1 | NB | Contact Scotia re AKV valve | Since the last meeting, there had been further issues with valves not on the original list from the manufacturers of serial numbers that might be affected. More information should be shared via the Gas Transporters Distribution Forum and TS agreed to find out if there was any further information that UKOPA members should be aware of. 25/6 this item was discussed in the main meeting and is ongoing 5/9 this issue is still ongoing with more valves being identified as having potential issues. RL informed the meeting that Greystar staff are using extra protection when inspecting the valve, this reinforced the issue that different organisations are approaching the issue in different ways 2/5 this is an ongoing issue and Penspen has identified a 3rd type of corrosion that is now causing problems. Along with a problems identified, there is a wider issue in that organisation may need to understand that the supplier (due to changes and buy outs) might not now be in a position to provide a coherent answer to the actual problem. | Ongoing Ongoing Ongoing Ongoing |