[image: image2.png]


[image: image1.jpg]United Kingdom Onshore Pipeline Operators’ Association





Document developed by UKOPA Emergency Planning Working Group (EPWG) in collaboration with Cleveland Emergency Planning Unit (CEPU), including recommendations made public through Buncefield Major Incident Investigation Board.

This document is a best practice pro-forma aimed at delivering a constant and equal approach to the testing and exercising of Major Accident Hazard Pipeline (MAHP) Plans, in line with the Pipelines Safety Regulations (PSR) 1996.
	Document History
	Date

	Document first published
	December 2010


Internet Address: www.ukopa.co.uk 
      

Email Address: info@ukopa.co.uk 


UKOPA is formed as a Company Limited by Guarantee, funded as a non-profit making organisation by membership fees paid by the pipeline operator members.   

Registered in England and Wales 

Company No. 4052297  

Registered Office:

Pipeline Maintenance Centre 



Ripley Road

   
Ambergate


Derbyshire 



DE56 2FZ 

The names of the directors may be obtained from the above address.

[image: image3.png]




Contents
11.
Exercise Type


11.1
Communication Exercises


11.2
Control post testing


11.3
Table Top Exercises


11.4
Seminar, Workshop or Discussion Based Tests


11.5
Live Exercises


21.6
Other methods of testing:


22.
Exercise Consideration


23.
Considered Criteria for Exercise Management


24.
Exercise Planning & Debrief Protocols


24.1
General Considerations


34.2
1st Exercise Planning Meeting


34.3
2nd Exercise Planning Meeting


44.4
The Exercise


44.5
 ‘Hot Debrief’


44.6
Exercise Debrief(s) & Report


55.
Testing and Exercising Matrix


56.
Post Exercise Meeting


67.
Post Exercise Conclusion Meeting


68.
UK Resilience Exercise Guidance


79.
Testing Matrix




1. Exercise Type

Various methods can be applied to the testing of pipeline emergency plans:

1.1
Communication Exercises

Communication exercises test the essential direct links, contact numbers and contact details which are required in the event of an emergency.

Communication exercises in which the direct communications links and contacts between key stakeholders are tested to confirm accuracy and reliability are an essential requirement.
1.2
Control post exercising 

Control post exercising is the recommended method for testing communications, which is an essential component of the emergency plan and must be included in every test programme.

A control post communication exercise examines the adequacy of communications between all key players in an emergency.  Testing in this way involves resources based at the posts and locations that they would take up in the event of an accident. This means that without deploying any resources, personnel work through the communications involved in the roles, decisions and actions that arise in response to an accident.  The exercise may include simulating some of the potential problems that can be experienced during real incidents.

1.3
Table Top Exercises

The method recommended for testing of emergency plans for pipelines is a table top exercise.  Table top exercises bring together the appropriate personnel and resources in one place to work through their roles in the event of an emergency in a realistic way.  Table top exercises are flexible, and can test the response to more than one of the identified hazards with very little additional effort and expense. 

1.4
Seminar, Workshop or Discussion Based Tests

These test exercises are aimed at informing participants about the organisation and procedures which would be invoked in response to an accident.  This approach can be used to provide information on current developments, and generally focus on particular aspects of response to an accident.  

1.5
Live Exercises

Live exercises involve the deployment of appropriate resources in a simulation of their actual response to an accident scenario selected from the identified hazards. This type of testing is time-consuming and resource intensive, and requires careful planning to ensure maximum benefit is gained.
1.6
Other methods of exercising:
· Internet-based Communications Software, 
· Information Technology, or 
· Virtual Reality Systems.
These systems being developed allow realistic simulations of accidents and the response to them.  Such systems have the potential to enable effective and practical testing, and to enhance the scope of the exercise.

Table top testing is considered to be a relevant and effective means of testing emergency plans, and is the recommended method for testing of pipeline emergency plans. 

2. Exercise Consideration

Where possible or achievable, ‘joint operator’ exercises to be considered to address joint elements of a plan.  The Exercise Planning Group should determine which specific agency elements are to be tested at each exercise. 
Table top testing is considered to be a relevant and effective means of testing emergency plans, and is the recommended method for testing of pipeline emergency plans. 

3. Considered Criteria for Exercise Management

Local Authority to be the lead agency for issues associated with exercise co-ordination. The MAHP exercises are to test some or all elements of the plan using one of the identified work place scenarios.
Each Exercise to have an ‘Exercise Director’, as determined by the Planning Group, to ensure elements of reality are retained within the exercise.
Any exercise, by an agency or operator, to include a representative of such agency.  A specific agency role must not be ‘played’ by anyone other than a member of that agency. 

4. Exercise Planning & Debrief Protocols

4.1
General Considerations

· Exercise planning meetings to involve all agencies, unless apologies given or no attendance required.

· Senior Emergency Planning Officer (Local Authority) to Chair meetings on a formal basis and outline the reasons for the meeting and ensure the meeting follows the format outlined in this document.
· Chair of meeting to issue an ‘agenda’ prior to each meeting.
· All attendees to identify themselves and state their role.
· Planning meetings must incorporate a consideration of the aims and objectives of the exercise for each agency.

· All agency planners to keep written records of exercise planning. 

· A bank of questions for use in the debrief process has been drawn up by the emergency planning officers from the emergency services and local authorities.  

· The exercise abort code should always be agreed in advance. This is typically “Exercise (name) NO DUFF” to maintain consistency of approach. 

· Dates / Times of subsequent meetings to be agreed.
4.2
1st Exercise Planning Meeting

· Chair of meeting to issue an agenda prior to the meeting.
· Operator should be included in discussions in the outlining of the scenario(s) for consideration.
· Agree the aims and objectives of the exercise.

· Agree Aims and Objectives of each organisation.
· Determine which elements of the off-site plan are to be tested.

· Agree the author of the exercise script and/or members of the ‘script team’.

· Agree exercise dynamics i.e. acknowledging that to achieve the aims and objectives of the exercise, certain artificialities will need to occur that should not happen in a ‘real’ incident.

· Agree outline of scenario, including location and exercise name.
· Agree who will be the Exercise Controller and Exercise Director(s).

· Discuss numbers and locations of Umpires.

· Discuss numbers and locations of Observers.

· Agree dates and times for key milestones (the exercise date).
· Discuss date(s) for debriefs.
4.3
2nd Exercise Planning Meeting

· Chair of meeting to issue an agenda prior to the meeting.
· Consolidate all matters discussed at first meeting, agreeing amendments as appropriate.

· Emergency Services and Local Authority to provide the Site Operator with estimated cost of their involvement in the exercise.

· Conduct Health and Safety and risk assessment “walk through” – alternatively arrange a separate date/time for this to occur.

· Agree dates for debrief(s).

· Agree who will be the debrief leader.

· Agree who the debrief attendees should be (key players).

· Agree which players, observers, etc can be debriefed through a questionnaire process, instead of them attending the formal exercise debrief.

· If possible, set date for post exercise meeting.

· Agree which emergency service and industry personnel should attend the ‘hot debrief’ or alternatively complete a ‘hot debrief’ proforma that asks persons to identify positive and negative issues encountered during the exercise.

4.4
The Exercise

· All Umpires and Observers to be in their agreed positions prior to commencement of the exercise.
· Appropriate staff not directly involved in the exercise should be briefed e.g. gate/security staff.
· Exercise Director should ensure that Umpires are aware of their role and be aware of the abort codeword.
· Exercise Controller and Director(s) should have radio or telephone communication between themselves and all Umpires where site conditions allow.
· The Exercise Controller should be the person to authorise the aborting of the exercise, although in extreme circumstances the Exercise Director(s) or an Umpire may do so.  

4.5
‘Hot Debrief’ 

· Wherever possible, the key players should be brought together immediately following the exercise and asked to give initial comments on one or two positive and negative aspects of the exercise.

· The ‘hot debrief’ should be facilitated by a non-industrial member of the planning team.

· It should seek to identify issues that require immediate attention.

· Alternatively, persons involved in the exercise can complete a questionnaire seeking responses to questions that will form the basis of the later structured debrief.

· Data will be collated from the responses and fed into the later structured debrief and can be used as evidence in the production of the draft testing and exercising matrix. 
4.6
Exercise Debrief(s) & Report

· Debriefing should be of a structured nature and consistent wherever possible to ensure accurate constructive information from exercises is recorded.

· To assist in the recording of information and provide evidence for the debrief report, an assistant to the Debrief Leader will take notes of the debrief process, especially of the sharing and discussion phase.  

· All agency personnel, as agreed at the 2nd Exercise Planning Meeting, wherever possible, to be involved in the debrief.

· If a particular person or persons raise significant issues during the debrief, the Debrief Leader should see them afterwards to clarify issues raised.

· Debrief Questionnaires to be used for ‘identified’ staff not involved in the actual structured debrief.

· Findings from the questionnaire will form part of the final structured debrief report.

· The Debrief Leader/facilitator will produce a draft report within 10 days of the last debrief being held.

· Draft debrief report will be forwarded to the Local Authority Emergency Planning Officer immediately upon completion to allow him/her to enter those findings onto a draft copy of the exercising and testing matrix for that site. 

· Draft debrief report to be forwarded to the Site Operator and each participating agency.

· At debrief, set date for post exercise meeting, if not already agreed. 

· The Debrief Report is then reviewed by the Exercise Planning Group, the significant outcomes and actions listed in a report document and actions given to members to address.
5. Testing and Exercising Matrix

· The Local Authority Emergency Planning Officer will prepare a draft matrix based upon evidence gained from:

· Notes taken at the ‘hot debrief’ or data gained from questionnaires issued immediately after the exercise.
· The debrief report.
· Notes taken during the debrief.
· Questionnaires completed by those who did not attend the structured debrief.
· Reports from Umpires and Observers.
· His/her own observations.
· The draft matrix will be completed within 10 working days of receiving all the reports and debrief report.

· The draft matrix will be sent to the Site Operator and participating agencies, particularly the emergency services.
· An example matrix is given in Section9
6. Post Exercise Meeting

· If urgent action to an issue was identified in the exercise or in the debrief process, the organisation / agency responsible for rectifying that issue should bring to this meeting details of action taken or being taken and dates that actions are to be completed by.
· The meeting to involve the Local Authority Emergency Planning Officer, Emergency Services’ Planning Officers, representative(s) of the Site Operator and other agencies where requested or deemed necessary.

· Discuss, amend and consolidate the draft testing and exercising matrix.

· Agree the actions and recommendations that arose from the exercise and debrief process, taking into consideration the actions of the Exercise Planning Group to the outcomes from the debrief.

· Each agency to identify possible improvements in their own plan as well as other agency plans.

· Agree action plan, with timescales, detailing the organisation/agency that will take ‘ownership’ of each action point.

· All persons present to be realistic in their comments and to be positive not negative – providing or suggesting a solution or way forward where possible.

· Set date for post exercise conclusion meeting.

7. Post Exercise Conclusion Meeting

· Meeting to follow up on actions agreed at Post Exercise Meeting to determine if actions have been achieved / recommendations acted upon.

· Agree amendments to the testing and exercising matrix to show actions that have been achieved and/or recommendations acted upon.

· If necessary, agree new timescales for implementations of actions or amend actions in light of new evidence / information or developments to the plan.

8. UK Resilience Exercise GuidANCE
The full guide and further information on exercises is available at:
http://interim.cabinetoffice.gov.uk/ukresilience/preparedness/emergencyplanning.aspx
https://scords.gov.uk/content/resources/ExGuide2010.pdf 
9. TESTING & EXERCISING Matrix

	Section
	Elements of plan
	Evidence requirements
	Evidence

	1.1
	Plan written; 
reviewed or updated
	Dates & by whom
	

	1.2
	Plans located
	Details of where plans kept e.g. 
Police/Fire Control Rooms, EPU etc

Operator
	

	1.3
	Provision of maps/revised
	If provided by company

Type of maps

Location of maps
	

	1.4
	Technical information
	Data sheet, 
(size, pressure, hazard zone, product, etc)
	


	Section
	Activation of Plan & actions by Operator (including PERO) should an incident occur
	Evidence requirements
	Evidence

	2.1
	Initiation of plan


	How is it completed e.g. operator, direct phone to EMERGENCY services.

Who does it (name/position). 
Is it in their roles and responsibilities?
	

	2.3
	Notification to Emergency Services
	How – 999 or direct line or other means

Did it work – if not, why not

Is there a person with this identified role – 
If so, who and are they aware.

Any PPE requirements clearly communicated to the Emergency Services
	

	2.4
	Setting up Major Emergency Control Centre (MECC)
	Location

Are there sufficient phones, faxes, computers, desks, white boards

Did equipment work

Is MECC easily accessible 
(out of hours – location of keys)

Availability & location of plans, aide memoirs, hazard data

Was it set up in a timely manner
	

	2.5
	Alerting & calling out of staff
	Names, positions, contact numbers

Is list correct

Could staff be contacted

Date of last ‘ring round’
	

	2.6
	Provision of fall back MECC
	Does one exist? If so, location

Same evidence as 2.4 above
	

	2.7
	Key staff in MECC
	Who – their roles – did they understand their roles & responsibilities

Did they arrive in MECC – time factor
	

	2.8
	Off-site communications (Links to external agencies, neighbours, etc)
	By what means – phone, fax, pager, e mail

Did they work

Details available on identified contacts

Was someone designated to perform this task
	

	2.9
	Notification to Competent Authority
	Were correct contact details held / known

Was it performed & by whom
	

	2.10
	Warning and informing the public
	Has the Operator a strategy/protocol to warn & inform the public

Was it enacted

By what means – fax, telephone, public address system, etc

Who does it e.g. public relations officer, etc

Was information disseminated in a timely manner

Was content sufficient to enable public to understand what action was necessary

Amongst senior managers, is there an awareness of any strategy

Are staff aware of their roles and responsibilities under the strategy

Was warning / information repeated – 
how often
	

	2.11
	Dynamic risk assessment of consequences
	Was one conducted

Who by

Was it timely – was it revisited

What was taken into consideration – e.g. chemical concerned, wind speed and direction, amount released, toxicity, harmful effects, environmental impact if any, density of population likely to be affected, knowledge of vulnerable premises, how quickly could plant be stabilised, isolations completed, warnings necessary for public, etc
	


	Section
	Command & Control, including the Major Emergency Centre (MECC)
	Evidence requirements
	Evidence

	3.1
	Communication Systems


	Adequate number of phones for Operator personnel

Phones available in MECC for emergency services

Phones available for use by Local Authority staff.

Fax machine present

System – was it adequate for both internal & external communications.

Internal/external telephone directory available

Directory – up to date

Did staff know how to work the communications system, incl. fax
	

	3.2
	Continual Liaison, including briefing procedures / ‘time outs’


	Was an MECC Room Manager or equivalent appointed?

Was a person designated to meet/greet/brief persons as they arrived in MECC?

Were Liaison Officers from Emergency Services briefed upon arrival at MECC?

Did ‘time outs’ take place – were they well conducted / concise / constructive / informative – did they create actions or just a ‘talking shop’.

Were actions followed through
	

	3.3
	Availability / accuracy of site plans / maps


	Were maps / plans available?

Were maps / plans laminated so plume, location of FCP, etc could be drawn/written thereon?

Did map cover surrounding area so potential off-site consequences could be plotted, Piz shown, domino sites identifiable.

Was compass point ‘north’ shown on map
	

	3.4
	Technical information


	Was a Technical advisor part of MECC Team?

Was he/she present – part of call out team

Was there technical information readily available – either PC or paper based

How easy was technical information available and disseminated

Was technical information conveyed to emergency services and others in language they could understand?
	

	3.5
	Sharing and dissemination of information


	How good was the process of sharing information

Was information shared amongst others, e.g. emergency services, Site Incident Controller, local authority, neighbours, media

Was salient information ‘posted’ on wall boards
	

	3.6
	Response


	Was response by operator positive

Was major incident plan activated

Was response timely

Did response cover effects, implications, etc?– what & by whom

Did staff know their roles and responsibilities

Did staff know of and understand the roles and responsibilities of others, including external agencies and emergency services

Were they aware of the MAHP plan(s) – location / content?

Were they aware of worst case scenarios
	

	3.7
	Incident Log


	In what form was the log of events kept

Were strategic decisions recorded

Was there a dedicated person performing this role

Was it kept up to date

Was the ‘loggist’ kept informed of events/decisions to enable them to log them appropriately

Was log available for SMC / Emergency Services Commanders to check

Were salient points highlighted in log

Were salient points/important decisions made, put on board elsewhere in MECC so persons present were aware of them
	

	3.8
	Links with Forward Control


	Type of links between MECC and FCP

Did links work effectively / were they sufficient

Was a dedicated person appointed to perform this linkage
	

	3.9
	Mitigatory action(s) to reduce off-site consequences / impact on off-site arrangements
	Were implications/effects (or potential) considered

If so, were they sufficient / timely / adequate

Provide examples/evidence of important action
	

	3.10
	Mitigatory action(s) to reduce any adverse effects to the environment


	Were implications / effects (or potential) considered

If so, were they sufficient / timely / adequate

Involvement of external environmental ‘experts’

Involvement of Environment Agency / Local Authority EHO’s

Use of / consideration of an Environmental Impact Analysis Group (EIAG)

EIAG – set up / roles / responsibilities / knowledge
	


	Section
	On-Site Control
	Evidence requirements
	Evidence

	4.1
	Links to MECC / 
External Agency(ies)

	Type of links

Did they work / were they adequate

Were there sufficient personnel to provide appropriate information link
	

	4.2
	Provision of information to MECC / Emergency Services


	Did SIC provide  information to MECC / Emergency Services

Was it adequate / appropriate / timely

Was SIC aware of facts to be able to give proper information to those requiring it

Was information regularly updated

Did time outs occur

Were emergency services or others at FCP briefed appropriately
	

	4.3
	Technical Information


	Did SIC have appropriate technical knowledge

Was a Technical Officer (or person with that knowledge) at FCP

Did SIC have access to a Technical Officer

Was technical information available either in written form or PC based e.g. chemical data sheets
	

	4.4
	Liaison with Emergency Services


	Were emergency services properly briefed on arrival at FCP

Was there easy access to the SIC for the emergency services

Were emergency services part of ‘time out’ procedures

Was specialist or technical information available to the emergency services
	


	Section
	Response by Agencies
	Evidence requirements
	Evidence

	
	Activation of & Response by:
	

	5.1
	Police


	Activation – how / who by

Police checklist of persons/agencies to inform – completed

Police aware of site location and access

Was a safe route established

Were RV points considered / set up

Was wind speed and direction obtained

Was chemdata obtained

Actions by Bronze Commander

Actions by First Officer at scene

Actions by Silver Commander

Police Liaison Officer to / in MECC

Actions by Gold Commander, if utilised

Was response timely

Were there sufficient officers available / deployed to deal with incident

Were road closures / diversionary routes considered / established / effective

Were officers aware of their roles and responsibilities

Did Police discharge their responsibilities in line with their emergency procedures

Were Police communications effective

Was a Casualty Bureau established – was it effective

Was there good liaison and lines of communication between the Police and other emergency services

Was there good liaison and lines of communication between the Police and other agencies i.e. local authority, emergency planning unit

Did the Police co-ordinate the media – was it effective   

Evacuation – considered / implemented / effective

Were body handling / recovery procedures exercised - effective

Were scenes of crime procedures effective 

Prevention of people entering the affected area

Operator access routes
	

	5.2
	Fire Brigade


	Activation – how / who by

Fire Brigade checklist of persons/agencies to inform – completed

Fire Brigade aware of site location and access

Was a safe route established

Were RV points considered / set up

Was wind speed and direction obtained

Was chemdata available / obtained

Actions by Bronze Commander

Actions by Silver Commander

Fire Brigade Liaison Officer to / in MECC

Actions by ‘Gold’ Commander, if utilised

Was response timely

Were there sufficient officers / appliances available and/or deployed to deal with incident

Were officers aware of their roles and responsibilities

Did Fire Brigade discharge their responsibilities in line with their emergency procedures

Were Fire Brigade communications effective

Was a FCP established - was it effective

Was an inner / outer cordon established

Was PPE used / effective

Was there good liaison and lines of communication between the Fire Brigade and other emergency services

Was there good liaison and lines of communication between the Fire Brigade and other agencies i.e. local authority, emergency planning unit

Did the Police co-ordinate the media – was it effective   

Evacuation – considered / implemented / effective

Was foam needed to fight the incident – was there sufficient available

Were de-contamination procedures exercised - effective 

Were media protocols observed

Was there containment of fire water ‘runoff’   
	

	5.3
	Ambulance


	Activation – how / who by

Ambulance checklist of persons/agencies to inform – completed

Were Ambulance aware of site location and access

Was safe route established

Were RV points considered / set up

Was wind speed and direction obtained

Was chemdata obtained

Actions by First Ambulances on scene

Was an Ambulance Incident Officer dispatched – was their role effective  

Was a medical control point and tri-age area established

Were ambulance loading points/casualty clearing stations established

Was response timely

Were there sufficient officers available / deployed to deal with incident

Was an Ambulance Liaison Officer dispatched to receiving hospital

Did Ambulance Control inform the receiving hospital(s)

Were officers aware of their roles and responsibilities

Did the Ambulance Service discharge their responsibilities in line with their emergency procedures

Were Ambulance communications effective

Was there good liaison and lines of communication between the Ambulance Service and other emergency services

Was there good liaison and lines of communication between the Ambulance Service and other agencies i.e. local authority, emergency planning unit

Was a mobile medical team considered / exercised / was it available

Decontamination procedures

Did Ambulance Service obtain correct information on chemical to effectively deal with casualties
	

	5.4
	Local Authority


	How were they alerted

Was alerting timely

Was Emergency Planning Duty Officer alerted – responded

Was Local Authority Emergency Centre established – was it effective

Was a Local Authority Liaison Officer sent to MECC / Police Command (Silver and/or Gold) – were they aware of their role & responsibilities

Were Rest Centres / Reception Centres – considered  / effective 

Was Local Authority able to respond to requests to effect road closures / traffic diversions

Were their viable plans for emergency accommodation and feeding

Dissemination of warnings / information to local authority vulnerable premises in area of incident

Was Chief Executive and Chief Officers alerted – timely / available

Did local authority media staff work alongside Police in co-ordinating media response

Did local authority provide specialist advice e.g. environmental / public health 

Co-ordination of recovery phase

Were there viable plans for removal of rubbish / large amounts of debris

Were there viable plans for provision of temporary or permanent housing of persons made homeless

Were there viable plans to safeguard the public against environmental conditions prejudicial to public health

Were there procedures in place to inform elected members 

Were MAHP plans readily available
	

	5.5
	Harbour Authority


	Alerted, if appropriate

Was it timely

Was their contact procedures effective

Were actions taken to safeguard ships & their crews

Were marine pollution procedures enacted i.e. deployment of booms, skimmers to retrieve surface material, etc

Were they kept informed of the incident as it progressed
	

	
	Civil Aviation Authority
	Alerted, if appropriate

Was it timely

Was their contact procedures effective

Were procedures enacted
	

	5.6
	Primary Care Trust


	Were they alerted – was it timely

Was the PCT’s contact / alerting procedures effective

Was the PCT’s links with the receiving hospitals robust

Were their emergency procedures effective
	

	5.7
	Health Protection Agency


	Were they alerted – was it timely 

Were their contact / alerting procedures effective

Were their links with the receiving hospitals robust

Were their emergency procedures effective

Did they provide specialist advice i.e. contagious diseases 
	

	5.8
	Hospital(s)


	Were they alerted by the Ambulance Control

Was the alerting timely

Were their contact / alerting procedures effective

Were their links with the ambulance control robust

Were their emergency procedures effective

Was a Hospital Control Team deployed – effective

Did they have the expertise to deal with the chemicals involved
	

	5.9
	Environment Agency


	Were they alerted – by whom – was it timely

Was specialist environmental advice offered / provided to assist with mitigatory actions

Did an EA competent officer respond 

Was the EA regularly updated 

Were they involved in the Environmental Impact Analysis Group 

Did a competent officer respond i.e. member of DEFRA Rural Team
Was the FSA  / DEFRA regularly updated 
	

	5.10
	Health & Safety Executive


	Were they alerted – by whom – was it timely

Was specialist advice offered / provided to assist the Operator mitigatory actions

Did an HSE Inspector respond 

Was the HSE regularly updated
	

	
	Issues to be considered during response:
	

	5.12
	Rendezvous Points


	Were suggested RV points identified in plans

Were responding emergency services aware of them

Were the RV points utilised effectively

Was an RV Officer(s) appointed by Police or other emergency service
	

	5.13


	Safe Routes
	Were suggested safe routes identified in plan, taking into account normal wind direction

Were the responding emergency services aware of them

Before personnel / vehicles were sent to scene, were safe routes:
(a) considered

(b) determined

(c) was advice sought from operator

(d) plume, wind speed and direction obtained by each emergency service / local authority (or information shared)
	

	5.14
	Road closures / traffic management


	Were suggested road closures identified in plan

Were road closures considered during exercise 

Would they have been effective or completed in a timely manner

Were alternative routes considered

Was the LA Traffic Management Section contacted / timely manner

Would Traffic Management have been able to put diversionary routes into effect

Had diversionary routes been considered prior to exercise

Did Local Authority have appropriate barriers / signage to effect road closures / diversions considered during exercise
	

	
	Communications
	

	5.18
	Activation of supporting procedures e.g. media


	Were media protocols activated – timely – who by

Effectiveness of a media briefing centre

Were press statements produced – who by – were they timely – were they co-ordinated

Was there an exchange of PRO’s between Operator & Police or other lead agencies 
	

	5.19
	Between Emergency Services and Operator
	Were effective communication links established

Were Liaison Officers exchanged to aid flow of information 
	

	5.20
	Between Emergency Services
	Were effective communication links established – maintained
	

	5.21
	Between Emergency Services, Local Authorities and other Agency(ies)
	Were effective communication links established - maintained
	

	5.22
	Between Emergency Services, Control Rooms and Forward Control Post
	Were effective communication links established - maintained
	


	Section
	Good Practice
	Evidence requirements
	Evidence

	6.1
	Company de-brief following exercise / test
	Dates

Attendance sheet

Minutes / outcomes

Action sheet if necessary
	

	6.2
	Multi agency debrief following exercise / test
	Date(s)

Report & Attendance Sheet

Minutes of ‘follow up’ meeting

Action sheet if necessary
	

	6.3
	Site Familiarisation Visits:
	

	
	Police
	Dates & by whom

Include tour of site/MECC & presentation of Operators response arrangements
	

	
	Fire
	Dates & by whom

Include tour of site/MECC & presentation of Operators response arrangements
	

	
	Ambulance
	Dates & by whom

Include tour of site/MECC & presentation of Operators response arrangements
	

	
	Emergency Planning Unit / Local Authority
	Dates & by whom

Where appropriate, Elected Members for the Council Ward in which the site is situated should attend

Include tour of site/MECC & presentation of Operators response arrangements
	


Title:  


Major Accident 


Hazard Pipeline (MAHP) Emergency Response Plan


TESTING & EXERCISING PRO FORMA








Date of Issue: 


January 2011











Author: 


Emergency Planning 


Working Group (EPWG)




















Ref: Type Here











Cover picture reproduced with kind permission of National Grid 2010








�What does Piz mean





