1
5

MAJOR HAZARDS SUB-COMMITTEE

Working Group on Pipelines

Land Use Planning - Laying of new Pipelines and

 Developments in the Vicinity of Existing Pipelines

Proposal that a Risk-Based Approach is Adopted and Endorsed

Summary

The debate concerning use of quantified risk assessment for populated areas adjacent to pipelines has continued for the past 12 years since HSE introduced land planning zones.  Risk is defined as the frequency of a specific event causing a specified level of harm, requiring quantification of both frequency and probability of events, and potential harmful effects.

The debate was given considerable encouragement by David Eves, Deputy Director General of the Health & Safety Executive in August 1995, when he assured British Gas plc that the HSE remains committed to the development of a risk-based approach to the provision of land-use planning advice.   A copy of his letter, and the earlier letter from British Gas, are attached.

It is argued that there are significant advantages of a Risk-Based Approach:-

· Transparency – objective risk assessments provide common measurement and language to enable rational decisions to be made, understood by all parties involved.

· Ability to measure, understand, and therefore manage and control risk.

· Allowing targeted expenditure on risk reduction measures and mitigation methods to allow developments and / or pipeline routes to proceed.

· Measurement of risk reduction by the effects of expenditure. 

A hazard-based approach is unsatisfactory because:-

· Annex 1 Of R2P2
 describes the precautionary approach which is adopted when considerable uncertainty in likelihood exists;  this is not the case for transmission pipelines, so conventional risk assessment based on well-established data and experience, is applicable to pipelines.

· There are concerns that there is over-emphasis on potential worst-case scenarios and their possible outcomes, simply because the levels of risk from buried steel pipelines are so low.  This results in unjustified large hazard-based zones adjacent to pipeline routes, and restrictions on land use. It also influences operators towards adopting less environmentally and socially acceptable means for of transporting hazardous substances. 
· It represents an inequitable situation when compared with other high hazard  situations such chemical plants, nuclear power plants or airport runways where a full range of risk-based decision making is in place.

It is therefore proposed that the Working Group on Pipelines should support and endorse the adoption and development of a risk-based approach and appropriate assessment criteria for Land-Use Planning as applied to laying of new pipelines and proposed developments in the vicinity of existing pipelines.

Risk-Based Approach

This is defined as an approach which utilises all the factors associated with frequency, probability and consequences of an event. 

Assessment of frequency takes into account:-

· Historical events which have occurred elsewhere and locally.

· Special circumstances which affect the specific pipeline under consideration.

· Predictive aspects, allowing engineering improvements and changes which can be highlighted, which affect the frequency or probability of the incident.

· Event development, allowing the probabilities of various outcomes to be considered, taking into account historical and engineering features.

· Comparison of risks against appropriate criteria for tolerability of risk in a similar way to other hazardous installations.

· Has the major advantage that improvements which reduce frequency and therefore risk, can be factored into the analysis.  This applies during the lifetime of a pipeline as continuous improvement is applied to operating, maintenance and pipeline monitoring techniques.
Consequence-Based Approach

Takes only the potential consequences into account, usually only the worst-case consequences.

Allows little scope for improvement apart from very expensive options such replacing the pipeline in thicker steel or removing the pipeline altogether.

This approach manifests itself particularly by taking fireball radius from a worst-case rupture of a pipeline as the defining inner zone for land use planning for pipelines.  

Inequitable Situation

Assessment by HSE of land use planning zones for fixed sites, containing for instance chlorine storage, utilises a risk-based approach.    In most cases, a list of incident scenarios and similar failure rate data is drawn up in co-ordination with the site operator, a risk analysis is then carried out by HSE and results are usually shared with the operator.

As an example of these analyses, a 300 tonne storage tank containing chlorine has fatal consequence distances in excess of 3000 metres for full rupture of the tank under most wind/weather conditions.  A release dispersing in any wind directions is likely to have fatal consequences on the surrounding population.   Yet the inner zone 10-5 contour is set on risk only, and is usually approximately 500-700 metres.

[image: image1.jpg]L = - SR Pl ioues N

DG/244/95 Health & Safety Executive(as ts N
From the Office of tne Deputy Director General Jews {-JL&\V{

David Eves 8 = posside a0
P Smith Esq [ e
flesm cres o 1A
British Gas plc Ao 3
TransCo
Brockham House o
Dorking Business Park UKO L.u 53630
Dorking
fo PAZ00 /0046
RH14 1HJ 24 August 1995

N ve G,

Thank you for your letter of 10 August abodt high pressure gas
transmission pipelines risk criteria

Let me assure you that HSE remains committed to the
development of a risk-based approach to the provision of
land-use planning advice. Although we have made progress in
relation to pipelines, we recognise that more work needs to be
dome.

I understand the concerns of British Gas and the added urgency
of the work, in the light of the several developments
affecting the industry. T suggest that the best way forward
is for a meeting to be arranged with Mark Addison, Head of our
Safety Policy Division, to enable a full discussion of your
concerns and to give us an opportunity to explain where we
have got to and to discuss how best we can carry the work
forward.

Mark will be accompanied by Keith Cassidy, Head of our Major
Hazards Assessment Unit and Brian Fullam, Head of our
Hazardous Installations Policy Unit. We will be in touch with
you to make the necessary arrangements.

I nave asked to be kept in touch with developments

DAVID EVES

Fase Court, 2S¢
0171717 8000 Oi





[image: image2.jpg]Bi  ISH GAS PLC
i1 OPERATICNG
HINCKLEY

23 AUG 1395

s David Ingham
David Abbs
John Murphy

BRITIE

TRANSCO seumm:w
eyem -y = 1k AUG 995 M““:Mwm
EAST AREA =% Dorking, Surrey AHa 1y

Teleohone 01306 748500

Orect i 01306 74,
10t August 1995 Facsmie 01306 74 5303
8504
MrD C TEves CB
Deputy Director General ce wf Tt
Health & Safety Executive «
Room 913 e
Rose Court
2 Southwark Bridge
London
' .8
SE1 9HS 1453
Dear Mr Eves

HIGH PRESSURE GAS TRANSMISSION PIPELINES RISK CRITERIA

Following many years of close liaison with representatives of the Health and Safety
Executive (HSE) regarding the subject of high pressure gas pipeline routing and the policy for
development in the vicinity of pipelines, I regret that [ find it necessary to write regarding the
HSE's apparent reluctance to establish risk criteria for gas transmission pipelines.

The implications of not having agreed risk criteria are considerable and affect all pipeline
operators, shippers and ultimately gas users. We had been given the impression that work
associated with the preparation and publication of the Pipelines Safety Regulations and
associated documentation, together with the revision of the HSE's Land Use Policy document
to include high pressure pipelines, would include risk criteria.

Recent discussions however, have raised concern regarding the HSE's commitment to a risk
based approach and associated legislation which has been highly advertised over the past 12

to 18 months or so.

Iset out below recent developments which have given rise ©o my concems:-

I Pipelines Safety Regulations

I refer to the draft Regulations themselves, the draft Consultative Document and the

draft Approved Code of Practice.





[image: image3.jpg]UKOPA/00/004¢

All the documents have been well advertised prior to publication, as being a risk
based legislative approach. This is supported to an extent by the reference to the use
of BS8010 or IGE/TD/1 as being acceptable standards for routing of pipelines. It is
also made clear in the draft documents, and in the accepted standards, that any
deviations from the latter must be supported by a risk assessment which in BS3010
has to be considered by the HSE. How can this be done if there is not a set of agreed
criteria?

Condi I "

This condition of the Public Gas Transporter's Licence covers the extension of the
pipeline system. Where the routing of the proposed pipeline is not in accordance with
the routing guidelines (the prescribed standards), the licensee bas to consult with the
HSE. Particular reference is made to risk criteria but, as already stated, criteria have
not yet been proposed by the HSE.

We are in discussion with your representatives regarding this Condition and continue
t0 be concemed regarding the absence of agreement of the risk criteria, despite the
fact that some drafting has been suggested in the interests of progress. To accept it
without such agreement could be likened to agresing to the purchase of a car without
knowing the price. It has considerable operational and financial implications.

wmm“mmwv...

We have complained for many years that this document did not cover high pressure
pipelines, and we believe that this omission has led to an inconsistent approach by the
HSE, which in many ways has discriminated against gas transmission pipelines when
viewed against other hazardous installations for which risk criteria are established.

During discussions with HSE representatives regarding the Pipeline Safety
Regulations, we were informed that in parallel with the drafting of the Regulations,
the Land Use Policy Document would be revised to include pipelines and, rightly or
wrongly, we understood that the new section on pipelines would be consistent with
the existing document and include risk criteria for pipelines which would be the
subject of consultation prior to publication.

We have recently been advised that the new section on pipelines will be purely a
confirmation of the current prescriptive guidance, with zmendment(s) which makes it
even more restrictive than it s currently. This amendment, if published. is likely to
lead to the sterilisation of a wide strip of land cenwred on a pipeline, and will
undoubtedly be unaccepiable 10 Jandowners. Such a move will dramatically increase
pipeline construction costs which would be reflected in transportation charges to
shippers and ultimately gas users. The establishment of risk criteria would greatly
impact on all concerned





[image: image4.jpg]UKOPA/00/0048

=

The proposal to update the document in this way is unacceptable 10 us and, [ am sure,
to other pipeline operators.

v =

We have always been unhappy with the prescriptive guidance issued to Local
Planning Authorities, and have been urging the HSE to establish criteria for many
years. In response we were alway informed that the HSE were working towards this
end.

Progress has been very slow and, in an effort to speed up the situation, we submitted
proposals to your representatives in November 1993 together with an offer of any
assistance which would improve progress. Our proposals are based very much on risk
levels inherent in the standards approved by the HSE, but we have still not received
an official response to our proposals. )
Work done by British Gas to establish quantitative risk criteria is extensive and well
validated. This work has been carried out at high cost. Full details of the work bave
been offered to the HSE. HSE's use of this work would benefit all UK pipeline
operators, not just TransCo/BG

Due to the HSE's lack of response in establishing quantitative risk criteria and, as a W
resalt,their reliance on a prescriptive protection-based approach, TransCo's operating

costs are being increased. As all costs associated with the Regulated business must be
transparen and chargeable, we must widen the forum of debate to include the

Shippers. You will be aware of the Asset Valuation Review including international

costs and standards comparisons

We believe that very litlle effort is being directed towards this area, despite the drive
towards risk based legislation and that more is required if this very essential
ingredient of the proposed legislation and Public Gas Transporter's Licence is to be
delivered.

tis also worth noting that the current situation leads to ongoing conflict between
advice given by the HSE to Local Planning Authorities regarding developments in the
Vicinity of existing pipelines where we can demonstrate that the risk is considerably
{ower than that which would be acceptable under published risk criteria for other
installations. The nub of the problem is a reliance on consequence based assessments
1o the exclusion of risk based analysis. Needless 1o say, these situations lead to
compensation claims against British Gas TransCo.





[image: image5.jpg]UKOPAZ 00 /0044

S4-

Lapologise for the length of the letter but I felt it is important to provide you with a fairly
comprehensive background to the situation. The direction of effort within the HSE in
connection with risk based legislation and the Gas Transporter's licence seems to lack an
understanding of the impact on pipeline operators, shippers and consumers.

T would ask you to give your consideration to the allocation of resources to establish risk
criteria for pipelines within the same timescale as is proposed for the publication legislation.
We are happy to offer you any assfanee we can on this matte.

Youﬁ sincerely

@\&Q :

Area Ducctcr "





� Reducing Risks, Protecting People, HSE Discussion Document  1999 





