## UKOPA PSI Data 2013
UKOPA Pipeline Process Safety Measures | [6 empty] | PSWG/2015/003
Individual Operator's Annual Report - 2014
Operator:-
Base Data:-
Notes
Length of pipeline(s) operated | [5 empty] | There have been no question changes compared with the 2013 questionnaire
Number of pipelines operated
Length of pipelines which can be in line inspected
Length of pipelines which can be externally inspected only (ie non-piggable)
Process Safety Data:-
Number | Risk Control | Indicator:- | Measure:- |  |  | Notes for information:- | Notes for gas pipeline operators
1 | Emergency Response | Emergency Testing | Number of emergency execises in year:- |  |  | Please give number of table top/live/other emergency exercises carried out in the year | Emergency exercises on above 7 bar systems only
|  |  |  | Internal | External
Table top :-
Live exercise:-
2 | Competency and Training | Emergency Response Training | Number of staff trained at Fire Service College PERO or equivalent course in year:- |  |  | Please give the number of staff who undertook emergency response training | Emergency response for above 7 bar systems only
3 | Operating Procedures | Exceedances of Operating Pressure | Number of pressure exceedances |  |  | Please supply number of pressure exceedances which have occurred, and the number of pipelines affected, eg 3 pressure exceedances on one pipeline, or 1 pressure exceedance on 2 pipelines | Pressure exceedances on above 7 bar systems only
|  |  | Number of times the Safe Operating Limit (SOL) was exceeded :- |  |  | If possible please supply the number of exceedances relating to the safe operating limit, assumed to be MO(A)P + 10% | MOP > 7 bar only
Number of times the Maximum (Allowable) Operating Pressure (MOP) was exceeded:-
4 | Route Management | Number of infringments | UKOPA Report to be supplied by Fault Data Management Group
5 | Route Management | Average response time to initial 3rd party enquiry |  |  |  | Please supply the average response time for initial 3rd party enquiries | Please supply the average response time for initial 3rd party enquiries
6 | Integrity | Number of product loss reports in year:- | UKOPA Report to be supplied by Fault Data Management Group
|  | Number of damage reports in year:- | UKOPA Report to be supplied by Fault Data Management Group
7 | integrity | Number of corrosion repairs | Number of corrosion repairs requiring additional measures to correct other than just a recoat |  |  | Please provide data relating to any pipeline corrosion that needed addional measures other than just a recoat to repair (i.e. shell, cut out, etc) | Please provide data relating to any pipeline corrosion that needed addional measures other than just a recoat to repair (i.e. shell, cut out, etc)
8 | Integrity | Pipelines affected by ground movment | Number of pipelines affected by ground movement (known prior to this year and being monitored) |  |  | Please identify the number of pipelines that have been affected by ground movement (e.g. landslips, pipeline buoyancies, river crossing and bank (inc estuary) erosion, mines and quarying, etc) | Please identify the number of pipelines that have been affected by ground movement (e.g. landslips, pipeline buoyancies, river crossing and bank (inc estuary) erosion, mines and quarying, etc)
Number of pipelines affected by ground movement (new occurances during the year)
9 | Inspection | In-line inspection:- | KMs inspected in year:- |  |  | Please provide length of pipline due to be in-line inspected during the year and actual lenth of pipeline inspected
KMs planned to be insepcted in year:-
|  | External inspection (eg CIPS, DCVG):- | KMs inspected by external methods in year:- |  |  | Please provide length of pipline due to be inspected (other than by ILI) during the year and actual lenth of pipeline inspected | Please include data for external inspection of both piggable and non-piggable pipelines
|  |  | KMs planned to be insepcted in year:- |  |  |  | Please include data for external inspection of both piggable and non-piggable pipelines
10 | Safety Alerts | Number of safety alerts shared with UKOPA members | Numbers to be supplied from the UKOPA member correspondence
11 | CP Systems | KM of pipeline not protected by CP for a period of more than 6 months